## AppendixC-Questionnair
Pacific Power EV Charging - Requested Information Form
Level 2 EVSE
This section lists questions related the hardware performance and related specifications for Level 2 EVSE.
Questions are arranged in a matrix with a "Response" field for identifying specifications or whether the hardware is compliant with the minimum requirement (Y/N), and a "Notes" field for any additional notes (optional).
Please provide a completed Level 2 Charger tab for each unique hardware option proposed. Copy this tab to add additional worksheets as required. (Hardware can be combined into one tab if the only difference is mounting or power level)
All fields are required.
General Information | Response
Manufacturer
Model Name
Model Number(s)
Mounting Options (wall, pole, pedestal, other)
Port Count Options
Product Specifications | Response | Notes
Input voltage (VAC)
Input current (A)
Input circuit breaker size (A)
Output power at 240V AC (kW)
Wiring options (hardwired and/or plug-in)
Operating temperature range (deg F)
Altitude rating (ft)
Humidity rating (%)
Metering accuracy (+/-%)
Dimensions (inches H x W x D)
Shipping weight (lbs)
Installed weight (lbs)
Cable length options (ft)
Cable management options (if yes, describe in Notes section)
Standards Compliance | Response | Notes
EnergyStar certified
Minimum rating of NEMA Type 3R or 4
Compliant with SAE J1772
Listed by a nationally recognized test lab to the requirements of UL 2251 (Standard for Plugs, Receptacles, and Couplers for Electric Vehicles)
Listed by a nationally recognized test lab to the requirements of UL 2594 (Standard for Electric Vehicle Supply Equipment)
ANSI C12.1 certified metering (minimum accuracy class of 0.2)
Compliant with FCC Part 15
Compliant with recommended practice SAE J2894/1_201112 or later (Power Quality Requirements for Plug-In Electric Vehicle Chargers)
Compliant with ISO/IEC 15118
Compliant with National Electric Code, NFPA 70 article 625
Compliant with the Americans with Disabilities Act (ADA)
Compliant with the Buy American Act
Compliant with other open and/or voluntary protocols (e.g., Plug&Charge)
Network Communications | Response | Notes
Cellular connection (CDMA or GPS/GSM/GPRS; 4G or better)
WiFi connection (802.11x)
Ethernet connection
Embedded modem
Compliant with Open Charge Point Protocol (OCPP) v1.6 or later
Certified by Open Charge Point Alliance program
Remotely upgradeable to support future versions of OCPP
Compliant with IEEE 2030.5 (SEP 2.0)
Payment Hardware | Response | Notes
RFID reader compliant with ISO/IEC 18000-2; ISO 14223; ISO 15693; ECMA-340; ISO/IEC 18092; ISO/IEC 1443A; ISO/IEC 14443
NFC (Apple Pay, contactless credit card, etc.)
Swipe credit card reader
Customer Support | Response | Notes
Standard hardware warranty (years)
Vandalism mitigation (if yes, describe in Notes section)
Ultraviolet (UV) resistant display, user interface, etc.
Stock available today
Lead time (weeks)
Hardware-Specific Service Capabilities (if different from what is provided on Business Information tab) | Response | Notes
Site Acquisition and Pre-Installation (if yes, describe in Notes section)
Installation and Commissioning (if yes, describe in Notes section)
Monitoring and Management (if yes, describe in Notes section)
Operations and Maintenance (if yes, describe in Notes section)
EV Driver Support (if yes, describe in Notes section)
Site Host Support (if yes, describe in Notes section)
Third Party Installer Support (if yes, describe in Notes section)
Training Programs (if yes, describe in Notes section)